Thermal Fault Detection System — Phase 1 Plan

Overview

This project aims to build a system that analyzes radiometric thermal images of electrical equipment and determines whether a fault condition is present.

The system will leverage both supervised and unsupervised machine learning approaches to ensure robustness, especially under limited labeled data conditions.

Problem Definition

Given:

- A radiometric thermal image

- Associated metadata (ambient temperature, emissivity, etc.)

The system will:

- Predict whether a fault is present (binary classification)

- Output a confidence score

System Approach

Dual-Track Strategy

To avoid over-reliance on a single method, we will develop two parallel modeling approaches:

Track A: Unsupervised Anomaly Detection (Autoencoder)

Description

A convolutional autoencoder trained only on normal (no-fault) images to detect anomalies via reconstruction error.

Inputs

- Radiometric thermal image (temperature array)

Training Strategy

- Train exclusively on normal samples

- Learn typical thermal patterns

Inference

- Reconstruct input image

- Compute reconstruction error

- High error indicates anomaly

Output

- Anomaly score

- Reconstruction error map (for visualization)

Track B: Supervised Classification

Description

A traditional machine learning pipeline using labeled data.

Inputs

- Radiometric thermal image

- Extracted thermal features

- Metadata

Features

- Max temperature

- Mean temperature

- Temperature variance

- Hotspot count and area

- Temperature difference vs ambient

- Gradient-based features

Models

- Random Forest

- XGBoost (if needed)

Output

- Fault probability

- Binary classification (fault / no fault)

Why Dual Approach?

- Fault data is often limited and imbalanced

- Supervised models require labeled faults

- Autoencoders can detect unknown or rare faults

This combination provides:

- Higher robustness

- Better generalization

- Early anomaly detection capability

Project Phases

Phase 0 — Scope Definition

- Define task, inputs, outputs, and success criteria

Phase 1 — Data Audit

- Inspect dataset structure and quality

- Evaluate metadata availability

- Identify risks and gaps

Phase 2 — Radiometric Processing

- Extract per-pixel temperature data

- Standardize formats

- Build preprocessing pipeline

Phase 3 — Labeling

- Define fault vs no-fault

- Clean dataset

- Create train/validation/test splits

Phase 4 — Feature Engineering

- Extract thermal and metadata features

- Analyze distributions

- Build tabular dataset

Phase 5 — Modeling (Parallel Tracks)

Phase 5A — Autoencoder

- Train on normal data

- Evaluate anomaly detection capability

Phase 5B — Supervised Baseline

- Train classical ML models

- Evaluate classification performance

Phase 6 — Image Modeling

- Train CNN on thermal images

- Compare with baseline

Phase 7 — Fusion Model

- Combine image + features + metadata

- Build hybrid architecture

Phase 8 — Explainability

- Visualize model decisions

- Feature importance

- Heatmaps (Grad-CAM, reconstruction error)

Phase 9 — Error Analysis

- Analyze misclassifications

- Identify weaknesses

- Improve dataset or features

Phase 10 — MVP Deployment

- Build inference pipeline

- Accept new inputs

- Output predictions and explanations

Success Metrics

Primary:

- F1 Score

- Recall (fault detection priority)

- Precision

Secondary:

- Accuracy

- ROC-AUC

Key Risks

- Limited fault data

- Noisy or inconsistent labels

- Metadata reliability

- Environmental variability

Expected Outcome (Phase 1)

A working system that:

- Detects faults from thermal data

- Provides confidence scores

- Highlights anomalous regions

- Serves as a foundation for future fault classification and root cause analysis

Next Steps

- Confirm data format and availability

- Begin Phase 1 data audit

- Build preprocessing pipeline

- Start baseline modeling